| Surface/Object | Procedure | Frequency | Disinfectant Type |
| --- | --- | --- | --- |
| Clinic/Patient Care Spaces: Examining tables Baby weigh scales Baby change tables Beds, Bedrails Crib Call bells | Clean with a hospital grade detergent solution or wipe. Rinse with warm, clean water. Disinfect with a low level disinfectant as per manufacturer’s instructions. Allow to air dry. | Between patients and when visibly soiled | Low level *phenols not to be used on toys |
| High Touch Surfaces: Toilets Sinks/Taps/faucets Water coolers Door knobs/handles Handrails Countertops Tables/Chairs Phones/Computers Other common items |  | Daily and/or when visibly soiled |  |
| Toys * Toys should be non-porous and not plush ** Toys should be removed during outbreaks |  |  |  |
| Walls Windows Blinds/Curtains | Clean with a hospital grade detergent solution. Fabrics should be laundered | Monthly or when soiled | No disinfection required |
| Non Absorbent Floors | Clean with a hospital grade detergent solution | Daily and/or when visibly soiled | No disinfection required |
| Carpets Upholstery (sofas) | Vacuum, and steam clean as necessary * Use a vacuum equipped with HEPA filtration | Daily and/or when visibly soiled | No disinfection required |
| Laundry | Launder linens using detergent and dry on the high heat setting. Linens soiled with large quantities of organic material require pre-treating to remove the material. Launder heavily soiled linens separately and add bleach to bleach tolerant materials | After each use | ____ |
| When blood / body fluids spills occur on any of the above surfaces or objects, refer to your Nursing Procedures for specific cleaning and disinfection instructions. Please consult with your Nurse in Charge or Environmental Public Health Officer. |
| During an outbreak, thorough environmental cleaning and disinfection with a disinfectant that has demonstrated effectiveness against the specific organism is required. Increasing the disinfectant level may also be required. Please consult with your Nurse in Charge or Environmental Public Health Officer. |

** CLEANING AGENTS AND DISINFECTANTS USED IN HEALTHCARE FACILITIES MUST HAVE A DIN (DRUG IDENTIFICATION NUMBER) AND LABELLED AS BROAD-SPECTRUM VIRUCIDE. MAKE SURE TO FOLLOW THE DIRECTIONS ON THE LABEL**

Disinfectant Classifications

| Low Level | Intermediate Level | High Level |
| --- | --- | --- |
| Low level disinfectants are effective at killing vegetative bacteria and enveloped viruses. They are used on non-critical items such as work surfaces, countertops, and other environmental surfaces. They are often found in common household cleaning products, with one of the following active ingredients: Quaternary ammonium (eg.) Lysol Phenols *not to be used in nurseries or on toys (eg.) Pinesol 100 ppm chlorine solution = ½ tsp 5.25% household bleach per one litre of water (eg.) Chlorox liquid bleach 0.5% Accelerated Hydrogen Peroxide | Intermediate level disinfectants are effective for killing vegetative bacteria, enveloped viruses, and fungi. They are typically used on non-critical items such as work surfaces. Examples include: 5000 ppm chlorine solution = 1 part 5.25% household bleach to 9 parts water 70-95% Alcohol CaviWipes | High level disinfectants are effective at killing vegetative bacteria, enveloped and non-enveloped viruses, fungi and mycobacteria. They are not effective at killing spores. They are used for semi-critical and critical items, such as surgical tools/equipment, and are not used for general cleaning purposes. Examples include: >2% Gluteraldehyde 6% Hydrogen peroxide |
| ** Please follow manufacturer’s instructions for disinfectant preparation |
| For further information about the handling and use of disinfectants please contact your Environmental Public Health Officer (EPHO) Edmonton (780) 495-4409 Calgary (403) 299-3939 |

Cleaning and Disinfectant Products

Cleaning product labels must clearly indicate the following information:

- DIN number

- Product name, clearly labelled

- Quantitative statement of ingredients

- Intended use

- Area and site of use

- Directions for use, including compatible surfaces/instruments

- Dilution procedure, if required

- Mode of application

- Wet contact time

- Rinsing instructions, if required

- Temperature for use and storage

- Appropriate precautionary symbols and statements

- First aid instructions

- Expiry date

Important considerations:

- Select the correct product for the intended task (e.g. cleaning or disinfecting)

- Use approved cleaning solutions and disinfectants

- Check the expiry date prior to use

- The presence of organic soil reduces the effectiveness of disinfectants. Use a two-step process for surfaces that are visibly soiled. Use one wipe to clean and another wipe to disinfect.

- Store all disinfectants out of the reach of children and confused individuals

- Ensure manufacturer’s recommended wet-contact time is achieved for proper disinfection

- Cleaning and disinfecting products must have a Safety Data Sheet (SDS) for staff to refer to at all times and labels must be clearly marked

- Wear Personal Protective Equipment (PPE) as required for cleaning and disinfecting medical devices and equipment

- Do not use two different types of cleaning/disinfecting products on the same equipment/environmental surface as the chemicals may react with each other (e.g. accelerated hydrogen peroxide products and quaternary ammonia products)

Adapted: Alberta Health Services (February 2016). Infection Prevention and Control Community-Based Services Resource Manual

# Text boxes

Cleaning and Disinfection Guide for Health Care Facilities